GOVERNING CODES BY DIVISION

Updated 3/2/20

| DIVISION |  | CODES |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| BOILERS |  | 2019 DETROIT CITY CODE PART IV, CHAPT 8 ART IV (MECH) | ASME BOILER & PRESSURE VESSEL CODES 2019 | NAT’L BOARD INSPECTION CODE 2019 |  |  |  |
| BUILDINGS | COMM’L | 2019 DETROIT CITY CODE PART IV, CHAPT 8 ART II (BLD) ART VI (REHAB) ART VII (RES’L) VIII (ENERGY) | MI BUILDING CODE 2015 | MI REHAB CODE FOR EXIST’G BLDGS 2015 | ACCESSIBLE & USABLE BLDGS & FACILITIES ICC A117.1 2009 | MI UNIFORM ENERGY CODE 2009 | NFPA 72 2013 (FIRE ALARM) |
|  | RES’L |  | MI RESIDENTIAL CODE 2015 |  |  |  |  |
| ELECTRICAL | COMM’L | 2019 DETROIT CITY CODE PART IV, CHAPT 8 ART III (ELEC) | 2017 MI ELECTRICAL CODE - 2017 MI ELEC CODE PART 8 RULES - 2017 NATIONAL ELECTRIC CODE (NEC) - 2015 MI RESIDENTIAL CODE |  |  |  |  |
|  | RES’L |  |  |  |  |  |  |
| ELEVATORS |  | 2019 DETROIT CITY CODE PART IV, CHAPT 8 ART IX (ELEVATOR) ART X (MANLIFT) ART XI (MAT’L HOIST) ART XII (PERSON’L HOIST) ART XIII (PWR PLATFORM) | ASME A17.1 (2010) | MI PLUMBING CODE 2015 SEC 301.6 SEC 1003.4 | NFPA 70, NEC 2017, ART 620 NFPA 2013 |  |  |
| MECHANICAL | COMM’L | 2019 DETROIT CITY CODE PART IV, CHAPT 8 ART IV (MECH) | MI MECHANICAL CODE 2015 | MI REHAB CODE FOR EXIST’G BLDGS 2015 | IFGC 2015 MOST CURRENT NFPA | ASHRAE STD 90.1 2013 |  |
|  | RES’L |  |  |  |  |  |  |
| PLUMBING | COMM’L | 2019 DETROIT CITY CODE PART IV, CHAPT 8 ART V (PLBG) | MI PLUMBING CODE 2015 | STATE PLUMBING ACT 733 (2002) |  |  |  |
|  | RES’L |  |  |  |  |  |  |