## Sheet1
INTERIOR SPECIFICATIONS/ADDRESS: |  |  |  | 13631 Roselawn
| FOYER/VESTIBULE - |  | (Insert X next to all that apply)
| X | Repair and paint all walls, ceiling and trim
Install smoke detector and/or CO2 detector
Repair windows
Install new windows
Repair doors
| X | Install new interior doors w/hardware
| X | Install new light fixtures, plugs and switches
| X | Install new flooring: LVT
Deviations from Standard
| LIVING ROOM - |  | (Insert X next to all that apply)
| X | Repair and paint all walls, ceiling and trim
| X | Install smoke detector and/or CO2 detector
Repair windows
| X | Install new windows
Repair doors
Install new interior doors w/hardware
| X | Install new light fixtures, plugs and switches
| X | Install new flooring: LVT
Deviations from Standard
| DINING ROOM - |  | (Insert X next to all that apply)
| X | Repair and paint all walls, ceiling and trim
| X | Install smoke detector and/or CO2 detector
Repair windows
| X | Install new windows
Repair doors
| X | Install new interior doors w/hardware
| X | Install new light fixtures, plugs and switches
| X | Install new flooring: LVT
Deviations from Standard
| HALLWAY - |  | (Insert X next to all that apply)
| X | Repair and paint all walls, ceiling and trim
| X | Install smoke detector and/ CO2 detector
Repair windows
Install new windows
Repair doors
| X | Install new interior doors w/hardware
| X | Install new light fixtures, plugs and switches
| X | Install new flooring: Carpet
Deviations from Standard
| STAIRWELL - (2nd or 3rd fl, if applicable) |  |  |  | (Insert X next to all that apply)
| X | Repair and paint all walls, ceiling and trim
Install smoke detector and/ CO2 detector
Repair windows
| X | Install new windows
Repair doors
Install new interior doors w/hardware
| X | Install new light fixtures, plugs and switches
| X | Install new flooring: Carpet
Deviations from Standard
| BEDROOM 1 - |  | (Insert X next to all that apply)
| X | Repair and paint all walls, ceiling and trim
| X | Install smoke detector and/or CO2 detector
Repair windows
| X | Install new windows
Repair doors
| X | Install new interior doors w/hardware
| X | Install new ceiling fan, plugs and switches
| X | Install new flooring: Carpet
Deviations from Standard
| BEDROOM 2 - |  | (Insert X next to all that apply)
| X | Repair and paint all walls, ceiling and trim
| X | Install smoke detector and/or CO2 detector
Repair windows
| X | Install new windows
Repair doors
| X | Install new interior doors w/hardware
| X | Install new ceiling fan, plugs and switches
| X | Install new flooring: Carpet
Deviations from Standard
2ND FLOOR BEDROOM
| BEDROOM 3 - |  | (Insert X next to all that apply)
| X | Repair and paint all walls, ceiling and trim
| X | Install smoke detector and/or CO2 detector
Repair windows
| X | Install new windows
Repair doors
| X | Install new interior doors w/hardware
| X | Install new ceiling fan, plugs and switches
| X | Install new flooring: Carpet
Deviations from Standard
2ND FLOOR BEDROOM
| KITCHEN - |  | (Insert X next to all that apply)
| X | Install new wall and base cabinets from new floor plans
| X | Install new countertop(s), sink and faucet
| X | Repair and paint all walls, ceiling and trim
Repair windows
| X | Install new windows
Repair doors
| X | Install new interior doors w/hardware
| X | Install new light fixtures, plugs and switches
| X | Install new flooring: LVT
Deviations from Standard
ELIMINATING A BEDROOM ON THE FIRST FLOOR
| BATHROOM/LAVATORY - |  |  | (Insert X next to all that apply)
| X | Install new toilet
| X | Install new bath tub
| X | Install new ceramic tile around tub
| X | Install new vanity w/countertop, faucet
| X | Install new medicine cabinet w/mirror
| X | Install new curtain, towel & paper rods
Reglaze tile
Reglaze tub
| X | Repair and paint all walls, ceiling and trim
Repair windows
| X | Install new windows
Repair doors
| X | Install new doors and hardware
| X | Install new light fixtures, plugs and switches
| X | Install new flooring: LVT
Deviations from Standard
| BASEMENT - |  | (Insert X next to all that apply)
| X | Install LVT on landing and steps from landing to kitchen
| X | Repair or replace landing, steps, railings and/or walls
| X | Install smoke detector and/ CO2 detector
| X | Remove all partition walls or closets
| X | Paint/seal all walls with Drylock water sealant
| X | Paint basement floor
| X | Paint steps to match floor
| X | Install glass blocks w/vents (laundry vent at washer connection)
Repair cracks in foundation
| X | Install proper lighting
| X | Install new powervent hot water tank
| X | Install new high efficiency furnace prepped for central air
Deviations from Standard
| EXTERIOR |  | (Insert X next to all that apply)
| X | Replace roof
Repair roof
| X | Install new gutters & downspouts
Repair gutters and downspouts
| X | Install new windows w/ wrap and trim (interior)
Repair windows and trim
| X | Install vinyl siding WITH 3/8 INSULATION
Repair siding
| X | Repair or replace soffit and fascia
| X | Install new entry and security door(front)
| X | Install new entry door & security door side and or back
| X | Remove debris from grounds
| X | Remove existing overgrown vegetation
Demo Garage
Repair Garage
| X | Rebuild or repair front porch
Rebuild or repair rear porch
| X | Install new light fixtures and plugs
| X | Chimney cap
Repair driveway and sidewalks to code
| X | Tuck point around home
| X | Repair fence
Deviations from Standard
REDUCING THE SIZE OF THE FRONT PORCH